ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name

Topic (Chapter #, Lecture Title, Article, etc.) Chapter 6

- What are the backbone of medical-related reliability studies?

  - Success data

  - Reliability data

  - Failure data

  - Maintainability data

- Computerized Maintenance Management Systems (CMMS) are used by hospital clinical engineering departments for ______ data on the repair and maintenance performed on medical devices/equipment.

  - Collecting

  - Storing

  - Analyzing

  - Reporting

  - All of the above

- Hospital engineering staff would use a CMMS to aid in __________.

  - Reliability and maintainability studies

  - Structural analysis

  - Power management

  - Psychological health analysis

- __________ provides effective support and analysis of clinical engineering-related operations through detailed work scheduling of items such as inspection, preventive maintenance, and repair

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Hospital Equipment Control System (HECSTM)

  - NUREG/CR-178

  - MIL-HDBK-217

  - Medical Device Reporting System (MDRS)

- __________ contains reports filed by device manufacturers concerning patient deaths and serious injuries allegedly involving their manufactured items, as well as failure of such items that may have caused serious injuries or deaths.

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Hospital Equipment Control System (HECSTM)

  - NUREG/CR-178

  - MIL-HDBK-217

  - Medical Device Reporting System (MDRS)

- __________ is designed to facilitate items such as tracking products for recall, safety, and reliability statistics and inventory control.

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Hospital Equipment Control System (HECSTM)

  - NUREG/CR-178

  - MIL-HDBK-217

  - Medical Device Reporting System (MDRS)

- __________ is widely used in the industrial sector to predict the failure rate of a given piece of equipment.

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Hospital Equipment Control System (HECSTM)

  - NUREG/CR-178

  - MIL-HDBK-217

  - Medical Device Reporting System (MDRS)

- __________ is used to perform human reliability analysis with emphasis on nuclear power plant applications.

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Hospital Equipment Control System (HECSTM)

  - NUREG/CR-178

  - MIL-HDBK-217

  - Medical Device Reporting System (MDRS)

- Step 2 of the CMMS selection process is __________.

  - Carefully examine all CMMS support issues

  - Examine CMMS cost

  - Evaluate the current system in use

  - Define the problem scope

- How

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | C | Slide 2, Page 85 |
| 2 | E | Slide 12, Page 89 |
| 3 | A | Slide 12, Page 89 |
| 4 | B | Slide 18, Page 93 |
| 5 | E | Slide 19, Page 94 |
| 6 | A | Slide 20, Page 94 |
| 7 | D | Slide 21, Page 94 |
| 8 | C | Slide 22, Page 94 |
| 9 | C | Slide 13, Page 89 |
| 10 |  |  |