ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name:

Topic (Chapter #, Lecture Title, Article, etc.): Chapter 6 Medical Device Maintenance and Sources of Obtaining Medical Device- Related Failure Data

- Maintenance is an important element of what?

  - Medical-related reliability studies.

  - Engineering equipment life cycle

  - Medical device-related failure data

  - Future medical devices/equipment

- Which of the following is not a medical device classification?

  - Prosthetics

  - Patient environmental, transport

  - Laboratory apparatus

  - Miscellaneous

- The CMMS system is used by hospital clinical engineering departments for which of the following …

  - Collecting

  - Analyzing

  - Storing

  - Reporting

  - All of the above

- Which

- Which of the following is not a major step of the CMMS system?

  - Evaluating the effectiveness of the existing system

  - Evaluating the commercially available CMMS

  - Evaluating the chosen one or more CMMS with respects to identified requirements.

  - Evaluating all the types of service costs

- From model 1 of the Medical Models for Equipment Costs, Average annual cost is composed of what three things?

  - avg. maintenance costs, avg. operating cost and avg. investment cost

  - avg. maintenance costs, avg. operating cost, and avg. replacement costs

  - avg. operating cost and avg. investment cost, and avg. replacement cots

  - none of the above

- Model 2 of the Medical Models for Equipment Cost is used to predict the number of ______ in reference to medical equipment/device in use

  - failures

  - spares

  - replacements

  - parts

- Which of the sources for device-related failure rate data Provides cost-effective, economic, financial, productivity data within the framework of each hospital?

  - Hospital Equipment Control System (HECS™)

  - MIL-HDBK-217

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Medical Device Reporting System (MDRS)

  - NUREG/CR-1278

- Which of the sources for device-related failure rate data contains reports filed by device manufacturers concerning patient deaths and serious injuries allegedly involving their manufactured items, as well as failure of such items that may have caused serious injuries or deaths?

  - Hospital Equipment Control System (HECS™)

  - MIL-HDBK-217

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Medical Device Reporting System (MDRS)

  - NUREG/CR-1278

- Which of the sources for device-related failure rate data was developed by the U.S. Nuclear Regulatory Commission to perform human reliability analysis with emphasis on nuclear power plant applications?

  - Hospital Equipment Control System (HECS™)

  - MIL-HDBK-217

  - Universal Medical Device Registration and Regulatory Management System (UMDRMS)

  - Medical Device Reporting System (MDRS)

  - NUREG/CR-1278

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | B | 1 |
| 2 | A | 2 |
| 3 | E | 12 |
| 4 |  |  |
| 5 | D | 13 |
| 6 | A | 14 |
| 7 | B | 16 |
| 8 | A | 18 |
| 9 | D | 19 |
| 10 | E | 22 |