ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name ______Device Maintenance __________________________

Topic (Chapter #, Lecture Title, Article, etc.) ____Ch 6__________________

- What is an important element of the engineering equipment life cycle?

  - Design

  - Maintenance

  - Failure

  - Code

- Which of the following is not an equipment classification?

  - Imaging and radiation therapy

  - Life support and therapeutic

  - Patient diagnostics

  - Intravenous (IV)Therapy

  - Laboratory apparatus

- What is medical equipment maintenance indexes used for?

  - To evaluate the effectiveness of the existing system

  - To determine optimum time between item replacements

  - To predict the number of spares required for a medical equipment in use

  - To measure different aspects of the maintenance function.

- Which index provides number of repair requests accomplished per medical device:

  - Index I

  - Index II

  - Index IV

  - Index VI

  - Index V

- Which of the following is not one of Index VI advantages?

  - Allows no compensation for the age of the equipment

  - Easy to compare across equipment types

  - Takes into consideration all types of service costs

  - Can be used with incomplete data

- Which of the following is not one of sources for obtaining medical device-related failure data:

  - HECS

  - UMDRMS

  - MDRS

  - CMMS

- This document contains failure data on various types of tasks performed by humans

  - NUREG/CR-1278

  - MDRS

  - MIL-HDBK-217

  - HECS

- This medical device-related failure data provides objective and good quality data on the basis of satisfactory statistical foundation

  - HECS

  - HECMS

  - UMDRMS

  - NUREG/CR-1278

- UMDRMS was developed by

  - The U.S Department of Defense

  - PRINCE

  - Emergency Care Research (ECRI)

  - The U.S Nuclear Regulatory Commission

- What is PRINCE stand for?

  - Projects In Controlled Environments

  - Parts Reliability Information Center

  - Protection Rest Ice Compression and Elevation

  - Programmed International Computer Environment

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | B | 2 |
| 2 | D | 3 |
| 3 | D | 4 |
| 4 | C | 8 |
| 5 | A | 11 |
| 6 | D | 17 |
| 7 | A | 22 |
| 8 | B | 18 |
| 9 | C | 20 |
| 10 | B | 23 |