ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name:

Topic: Chapter 4, Medical Device Safety

- In 1970, OSHA was created. OSHA is an acronym that stands for:

  - Occupational Health and Safety Administration

  - Occupational Safety and Health Administration

  - Occupational Society Health Association

  - Occupational Safety Health Association

- Which of the following is not a category of medical device safety?

  - Unconditional Safety

  - Conditional Safety

  - Discrete Safety

  - Descriptive Safety

- The Three elements of a safe functioning medical device are:

  - Accuracy of measurement, reliability, warning for dangerous outputs

  - Reliability, warning for dangerous outputs, material choice

  - Environmental protection, reliability, accuracy of measurement

  - Environmental protection, mechanical hazard prevention, heating prevention

- What is the first phase or “stage” in a device life cycle?

  - Definition

  - Deployment

  - Development

  - Concept

- Which of the following safety analysis tools is used first?

  - Human Error Analysis

  - Technic of Operations Review

  - Preliminary Hazards Analysis

  - Operating Hazards Analysis

- One of the main focus points when performing the Operating Hazards Analysis is:

  - Identify critical areas, safety design criteria, and evaluate hazards

  - Focuses on hazards from the task by the operating system as the device is stored, transported, or used

  - Used to highlight various types of hazards prior to occurrence

  - A step by step analysis of workplace related accidents and failures

- Which of the following is not a consideration for safety analysis?

  - Time required to obtain results

  - Time frame for the study

  - Your judgment call on if it is needed

  - Ways and means for getting the information to subcontractors

- Which of the following areas of a quality assurance program deals with determining and terminating any weaknesses in the design?

  - Design Review

  - Reliability Assessment

  - Design Transfer

  - Specifications

- When referring to areas of a quality assurance program, what is test instrumentation?

  - Software  maintainability, testability, and correctness

  - Calibrating and maintaining all pieces of equipment used in testing the quality of the device

  - The basic estimation on the reliability of the device, for new or modified designs

  - Translating the idea of the device into measureable units; should address reliability, safety, stability, and precision

- Which of the following is a technical review that includes adequate specifications, effectiveness of tests methods, overall quality assurance plan, and making sure there are no differences between final end device and approved device specifications?

  - Quality Monitoring

  - Reliability Assessment

  - Design Review

  - Certification

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | B | Slide 2 |
| 2 | C | Slide 4 |
| 3 | A | Slide 5 |
| 4 | D | Slide 7 |
| 5 | C | Slide 9-10 |
| 6 | B | Slide 9-10 |
| 7 | C | Slide 11 |
| 8 | A | Slide 14-15 |
| 9 | B | Slide 14-16 |
| 10 | D | Slide 17 |