ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name ____Device Safety 3_____________________

Topic (Chapter #, Lecture Title, Article, etc.) _Chpt. 4, Medical Device Safety____________

- Who was the first company to set up an inspection department?

  - Southern Plastic Manufacturers

  - Northern Steel

  - Western Electric Company

  - Eastern Plumbing Company

- What is defined as “risk”?

  - A favorable event

  - An undesirable event that can occur and is measured in terms of probability and severity.

  - A way to measure the number of failure occurrences in a device test

  - A success rate in a given time during  a device testing procedure

- What is one of the categories of medical device safety?

  - Descriptive

  - Environmental

  - Durability

  - Effectiveness

- What is one of the categories used to meet safety requirements?

  - Risk Assessment

  - Sufficient Information

  - Time Requirement

  - Hazard Analysis

- What is one of the phases to the device life cycle?

  - Design

  - Installation

  - Development

  - Pre-Production

- What is one of the safety analysis tools discussed on Chapter 4?

  - Fishbone Diagram

  - Failure Mode and Effects Analysis

  - Technic of Operations Review

  - Success Tree Analysis

- What does OSHA stand for?

  - Office of Standards and Health Administration

  - Order of Security and Health Assessment

  - Occupational Security and Hazmat Association

  - Occupational Safety and Hazard Administration

- How many areas are involved in the Quality Assurance Program developed by the FDA and ISO?

  - 6

  - 9

  - 12

  - 24

- What is one of the areas in the quality assurance program developed by the FDA and ISO?

  - Product Transport

  - Identification

  - Test Instrumentation

  - Device Initiation

- How far back can the history of medical device safety be traced back to?

  - 2000 B.C.

  - 300 B.C.

  - 1767

  - 1892

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | C. Western Electric Company | Slide 2 |
| 2 | B. An undesirable event that can occur and is measured in terms of probability and severity | Slide 3 |
| 3 | A. Descriptive | Slide 4 |
| 4 | B. Sufficient Information | Slide 5 |
| 5 | C. Development | Slide 6 |
| 6 | D. Technic of Operation Review | Slide 8 |
| 7 | D. Occupational Safety and Hazard Administration | Slide 2 |
| 8 | C. 12 | Slide 13 |
| 9 | C. Test Instrumentation | Slide 13 |
| 10 | A.2000 B.C. | Slide 2 |