Figure 1.  Healthcare FMEA Worksheet

| Step 4 | 1 | Process Step |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2 | Potential Failure Mode |  |  |  |  |  |
|  | 3 | Potential Cause(s) |  |  |  |  |  |
|  | 4 | Severity |  |  |  |  |  |
|  | 5 | Probability |  |  |  |  |  |
|  | 6 | Hazard Score |  |  |  |  |  |
|  | 7 | Decision (Proceed or Stop) (Note: If the score is 8 or higher and the decision is to “Stop,” document the rationale for this decision) |  |  |  |  |  |
| Step 5 | 8 | Action (Eliminate, Control, or Accept) |  |  |  |  |  |
|  | 9 | Description of Action |  |  |  |  |  |
|  | 10 | Outcome Measure |  |  |  |  |  |
|  | 11 | Person Responsible |  |  |  |  |  |
|  | 12 | Management concurrence (yes or no) |  |  |  |  |  |

##### Figure 2.  Severity Rating

Patient Outcome: Permanent lessening of bodily functioning (sensory, motor, physiologic, or intellectual), disfigurement, surgical intervention required, increased length of stay for 3 or more patients, increased level of care for 3 or more patients

Visitor Outcome: Hospitalization of 1 or 2 visitors

Staff Outcome:  Hospitalization of 1 or 2 staff or 3 or more staff experiencing lost time or restricted duty injuries or illnesses

Equipment or facility:  **Damage equal to or more than $100,000

Fire: Not Applicable – See Moderate and Catastrophic

Patient Outcome:Death or major permanent loss of function (sensory, motor, physiologic, or intellectual), suicide, rape, hemolytic transfusion reaction, Surgery/procedure on the wrong patient or wrong body part, infant abduction or infant discharge to the wrong family

Visitor Outcome: Death; or hospitalization of 3 or more.

Staff Outcome: * A death or hospitalization of 3 or more staff

Equipment or facility:  **Damage equal to or more than $250,000

Fire: Any fire that grows larger than an incipient

Major Event

(Traditional FMEA Rating of 7 – Failure causes a high degree of customer dissatisfaction.)

Catastrophic Event

(Traditional FMEA Rating of 10 - Failure could cause death or injury)

Patients Outcome: No injury, nor increased length of stay nor increased level of care

Visitor Outcome:  Evaluated and no treatment required or refused treatment

Staff Outcome:   First aid treatment only with no lost time, nor restricted duty injuries nor illnesses

Equipment or facility: **Damage less than $10,000 or loss of any utility♦ without adverse patient outcome (e.g. power, natural gas, electricity, water, communications, transport, heat/air conditioning).

Fire:  Not Applicable – See Moderate and Catastrophic

Patient Outcome:  Increased length of stay or increased level of care for 1 or 2 patients

Visitor Outcome:  Evaluation and treatment for 1 or 2 visitors (less than hospitalization)

Staff Outcome: Medical expenses, lost time or restricted duty injuries or illness for 1 or 2 staff

Equipment or facility: **Damage more than $10,000 but less than $100,000

Fire:  Incipient stage‡ or smaller

Minor Event

(Traditional FMEA Rating of “1”– Failure would not be noticeable to the customer and would not affect delivery of the service or product.)

Moderate Event

(Traditional FMEA Rating of “4” – Failure can be overcome with modifications to the process or product, but there is minor performance loss.)

Figure 4.  Probability Rating

Frequent - Likely to occur immediately or within a short period (may happen several times in one year)

Occasional - Probably will occur (may happen several times in 1 to 2 years)

Uncommon - Possible to occur (may happen sometime in 2 to 5 years)

Remote - Unlikely to occur (may happen sometime in 5 to 30 years)

##### Figure 4.  Hazard Scoring Matrix

| ##### Probability | ##### Severity of Effect |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Catastrophic | Major | Moderate | Minor |
|  | Frequent | 16 | 12 | 8 | 4 |
|  | Occasional | 12 | 9 | 6 | 3 |
|  | Uncommon | 8 | 6 | 4 | 2 |
|  | Remote | 4 | 3 | 2 | 1 |

How to Use This Matrix:

- Determine the Severity and Probability of the Hazard based upon the definitions   included with this matrix.   (NOTE: These definitions are the same as those used in the Root Cause Analysis Safety Assessment Code.)

(2) Look up the Hazard Score on the Matrix.

# Figure 5.  Decision Tree

1. Does this hazard involve a sufficient likelihood of occurrence and severity to warrant that it be controlled?

(e.g. Hazard Score of 8 or higher)

2. Is this a single point weakness in the process?

(e.g. failure will result in system failure)

(Criticality)

3. Does an Effective Control Measure exist for the identified hazard?

4. Is the hazard so obvious and readily apparent that a control measure is not warranted?

(Detectability)

PROCEED to HFMEA Step 5

STOP

NO

YES

YES

YES

YES

NO

NO

NO

 You must document rationale for STOP decision