ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name __________________________________

Topic (Chapter #, Lecture Title, Article, etc.) _Ch 7___________________________

- Which is not an important identified factor that caused human error in medicine?

  - Poor communication

  - Inadequate training & experience

  - Staff shortage

  - Lack of sleep

- Which is not a useful guideline to prevent human error in medicine?

  - Simplify process by reducing process step

  - Use sensible checklists

  - Respect human shortcomings

  - Increase staff

- Which is a useful guideline to prevent human error in medicine?

  - Allow staff to take nap

  - Redesign patient record for effectiveness

  - Shorter work shift

  - Increase number of doctors

- Medical device-associated with operator errors include all except

  - Failure to understand instructions

  - Untimely activation of controls

  - Mistake in setting of equipment parameters

  - Failure to followed prescribed instructions

- Medical device that is most error prone with high incident of human error is

  - Low energy defibrillator

  - Continuous ventilators

  - Glucose meter

  - Cather guide wire

- Human errors analysis methods for medical devices are all except

  - Force Field Analysis

  - Barrier Analysis

  - Markov Method

  - Damage Analysis

- Methods to prevent or reduce anesthetic mishaps for method I include all except

  - Find out what is going on

  - Design and organized workspace

  - Classify the problems errors

  - Implement strategies

- Methods to prevent or reduce anesthetic mishaps for method II include all except

  - Develop preventative strategies

  - Supervise and train staff

  - Use appropriate monitoring instrument

  - Recognize the limitation that influence individual performance

- Common anesthesia error include all except

  - Loss of oxygen supply

  - Broken needle

  - Drug overdose

  - Syringe swap

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | d | Slide 18 |
| 2 | d | Slide 19-21 |
| 3 | b | Slide 19 |
| 4 | a | Slide 12 |
| 5 | c | Slide 11 |
| 6 | d | Slide 13 |
| 7 | b | Slide 10 |
| 8 | a | Slide 10 |
| 9 | b | Slide 9 |