ETM 591 ISE 427 Fall 2010

Multiple Choice Question Template

Quiz Developer’s Name

Topic (Chapter #, Lecture Title, Article, etc.) Dillon - Chapter 5

- Which is not an example of a medical device failure due to software?

  - Heart pacemaker incidents due to software issues – 2 deaths

  - Baxter infusion pump recall – FDA mandated recall due to software and usage failures causing the pumps to stop infusing fluids

  - London Ambulance Services (1992) – newly installed, and poorly designed, Computer Aided Dispatch (CAD) system caused massive delays in assigning of ambulances, with anecdotal reports of 11 hour waits

  - Infusion pump is dropped on the floor and breaks into several pieces.

- Which of the following is not part of the framework for defining software quality assurance programs?

  - Collect requirements

  - Develop mission statement

  - Develop inappropriate operating procedures

  - Highlight all relevant activities

- What is not an advantage of Modular Design with respect to software design methods

  - Easy to write, debug and test

  - Cheaper to change

  - More reliable

  - Requires more effort

- What is a disadvantage of the Structured Software Design Method?

  - May require more memory space

  - Increases programmer productivity

  - Maximizing reusable codes during redesign

  - Localizing error

- Which

- Software _______ are used to measure software complexity.

  - magazines

  - designers

  - metrics

  - programmers

- Which of the following is not one of the program steps for risk management?

  - Outline responsibilities

  - Identify authorization

  - Define skills and knowledge needed

  - Conduct verifications

  - None of the above

- Which are factors in Risk Management?

  - Design and Manufacturing

  - Material Toxicity and Degradation

  - Human Factors

  - Interaction with Other Devices

  - All of the above

- In which step(s) should Risk Assessment be integrated into medical device design and control?

  - Project Planning and Design Input

  - Design Input and Output

  - Design Transfer

  - Design Verification and Validation

  - Risk Assessment should be integrated into each phase

- What was the example which incorporated continuous quality improvement using intelligent infusion pump data analysis?

  - Average intelligence pump

  - Smart pump

  - Dumb pump

  - Manual Pump

| Question | Answer | Reference (Page or Slide #) |
| --- | --- | --- |
| 1 | D | Slide 3 |
| 2 | C | Slide 5 |
| 3 | D | Slide 7 |
| 4 | A | Slide 8 |
| 5 |  |  |
| 6 | C | Slide 12 |
| 7 | E | Slide 16 |
| 8 | E | Slide 17 |
| 9 | E | Slide 18 |
| 10 | B | Slide 20 |